CH3041	Tutorial  6	Analytical B

Name:

1. 	Indicate the typical features of a chemiluminescence spectrometer and how it functions.

- What chemicals would you analyse for using chemiluminescence and give some typical IDLs for these analytes.

- How does chemiluminescence differ from fluorescence?

2.  How does ion chromatography separate the ions contained in a water sample, use phosphate and nitrate 
     as analytes to illustrate your answer.

3. 	There are many solid state electrodes on the market that are used in environmental chemical applications.

- Provide details of one of these electrodes including a sketch of the electrode and the basic physical principle of operation

- Indicate the analyte detection limit and what interferences are possible.

4. 	Sketch the basic features of a typical gas chromatographic (GC) instrument that you would use to 
 	analyse fragrant organic molecules such as geraniol and farnesol.

- Include details of the stationary phase, mobile phase, detector and the type of output that would be expect.

- How would you calibrate this instrument for a particular terpene?