5.  Draw schematic diagrams for GC-FID and HPLC-UV/Vis spectrometers including details of the columns and the stationary and mobile phases which are used to enable successful separations.

6. In establishing the concentration of an analyte the methods of calibrating the quantitation include the use of external standards, internal standards and standard addition.  
Explain what each of these terms means.